## Slide 1: Electric Vehicle Charging Insfracture

## Slide 2: Table of contents
Definitions of Resilience Factors View of Stakeholders Review

## Slide 3: Resilience Definitions for Electric Vehicle Charging Infrastructure

## Slide 4: Haimes (2009) Definition
Resilience is the ability of an EV charging system to withstand major disruptions (e.g., grid failure, cyberattacks) within acceptable performance loss, and to recover within a suitable time and cost.

## Slide 5: Bruneau (2003) Definition
Resilience of EV infrastructure involves: Robustness (system strength), Rapidity (speed of service restoration), Redundancy (backup chargers), and Resourcefulness (ability to mobilize repair and support quickly).

## Slide 6: Vugrin (2010) Definition
Resilience is the ability of the EV charging system to minimize both the extent and duration of performance drop (e.g., reduced charging capacity) after a disruption, and do so efficiently (with minimal cost and effort).

## Slide 7: Youn (2011) Definition
Resilience = Reliability (likelihood the EV system keeps working under stress) + Restoration (chance of fully restoring it after a failure, like repair of malfunctioning stations).

## Slide 8: Hollnagel's Four Abilities
• Respond: Quick action during outages or demand spikes
• Monitor: Real-time tracking of charger status and grid load
• Anticipate: Forecast usage patterns, maintenance needs, and power shortages
• Learn: Adapt from failures, user feedback, and performance data

## Slide 9: Operational Resilience
• Anticipate: Prepare for grid instability or demand surges
• Adapt: Reroute charging or use smart algorithms to shift load
• Respond: Enable manual or automated interventions
• Recover: Restore functionality quickly after failures

## Slide 10: Organizational Resilience
• Leadership: Strategic planning for EV infrastructure
• Training: Skilled technicians for maintenance and crisis response
• Culture: Emphasis on safety, uptime, and innovation
• Flexibility: Ability to scale or reconfigure networks

## Slide 11: Community & Social Resilience
• Public Awareness: Clear communication during disruptions
• Inclusiveness: Access for all, including vulnerable populations
• Feedback Loops: Community input to improve service
• Trust: Reliability builds public confidence in EV infrastructure

## Slide 12: Infrastructure Resilience
• Robustness: Weatherproof and tamper-resistant stations
• Redundancy: Backup systems, battery storage, alternative power
• Modularity: Isolate faults to maintain partial service
• Recoverability: Fast repair protocols and spare parts availability

## Slide 13: Cyber Resilience
- Protection against hacking, malware, and communication threats
- Use of encryption, authentication, and intrusion detection

## Slide 14: Measuring Resilience
Resilience is often measured using the 'Service Continuity Metric (κ)':
κ = E_DoS / E_Base
Where:
• E_DoS = Energy delivered during a disruption (e.g., cyberattack)
• E_Base = Energy that would be delivered under normal operation
A higher κ value indicates better resilience.

## Slide 15: Dynamic Capacity Sharing (DCS)
A decentralized strategy that enhances resilience by allowing EV charger clusters to:
- Estimate local capacity needs
- Share capacity with neighbors via peer-to-peer communication
DCS helps maintain stability and service availability without relying on central control.

## Slide 16: Factors of CyberResilience in EV Charging Infrastructure

## Slide 17: Cybersecurity Measures
- Secure communication protocols (e.g., TLS, OCPP 2.0.1)
- Authentication and authorization mechanisms
- Endpoint protection for EVSE and backend systems
- Regular vulnerability assessments and penetration testing

## Slide 18: System Redundancy and Backup
- Redundant network connections for continuous operation
- Backup power systems (e.g., batteries, generators)
- Failover mechanisms to ensure charging availability
- Cloud-based backup of operational data and configurations

## Slide 19: Monitoring and Incident Response
- Real-time monitoring of system health and cybersecurity
- Intrusion Detection Systems (IDS) and anomaly detection
- Incident response planning and rehearsals
- Alerts and automated responses to abnormal behavior

## Slide 20: Physical Security and Environmental Design
- Tamper-resistant hardware enclosures
- Surveillance systems and controlled access
- Weatherproof and ruggedized station designs
- Strategic placement to avoid environmental hazards

## Slide 21: Regulatory Compliance and Standards
- Adherence to standards like ISO 15118, IEC 61850
- Alignment with national cybersecurity frameworks (e.g., NIST)
- Participation in industry certifications and audits
- Continuous improvement through compliance assessments

## Slide 22: Technical Factors
• Installed charging capacity per cluster
• Charger types (AC/DC) and power ratings
• State-of-Charge (SoC) behavior and charging curves
• Energy management algorithms and optimization solvers

## Slide 23: Grid Topology Factors
• Physical proximity of clusters
• Transformer and feeder load limits
• Distribution network configuration and constraints
• Compatibility of capacity sharing across feeders

## Slide 24: Stakeholder Perspectives on Resilience in EV Charging Infrastructure

## Slide 25: EV Users & the Public
• Expect accessible, affordable, and reliable charging
• Demand clear information during outages or delays
• Value environmental sustainability
• Trust infrastructure to be safe and resilient

## Slide 26: Charging Station Operators
- Ensure secure firmware updates and physical access controls
- Monitor for cyber threats (intrusion detection, anomaly detection)
- Comply with smart charging regulations
- Maintain user trust through privacy and billing protection

## Slide 27: EV Manufacturers
- Design vehicles with secure and adaptable charging interfaces
- Collaborate with charging networks to ensure compatibility
- Monitor firmware and software resilience
- Address vulnerabilities across the EV lifecycle

## Slide 28: Utility Companies / Grid Operators
Focus on managing increased demand, load balancing, and ensuring grid resilience. Seek systems that can handle surges and integrate with renewable sources.

## Slide 29: Technology Providers
Work to ensure hardware/software is robust, secure, and adaptable. Resilience involves cybersecurity, modular design, and firmware flexibility.

## Slide 30: Municipalities & Urban Planners
Interested in infrastructure placement, community access, and emergency preparedness. Resilience means chargers stay functional during disasters or power interruptions.

## Slide 31: Investors & Insurers
Look for risk-managed, dependable systems with minimal downtime. Resilience is tied to financial stability and liability exposure.

## Slide 32: Review of the papers

## Slide 33: System Architecture and Interoperability
Kirpes (2019): Proposed EMSA model for managing e-mobility complexity and interoperability
Emphasizes role-based architecture aligned with SGAM
Enables standardization and communication among diverse stakeholders and systems

## Slide 34: Cybersecurity Threats and Vulnerability
Plaka (2022): Penetration-based analysis of EVCS and EVCMS vulnerabilities
STRIDE threat classification: spoofing, tampering, info disclosure, DoS, etc.
Highlighted weak authentication and exposed ports

## Slide 35: Cyberattack Impact on System-Level Operations
Wang (2024): Studied cyberattacks on shared EV systems using GPS data from Beijing
Showed cascading failures and accessibility drops due to charger disruptions
Called for system-wide vulnerability simulations

## Slide 36: Dynamic Capacity Sharing for Resilience
Gümrükcü (2024): Developed peer-to-peer control between charger clusters
DCS system mitigates failures in hierarchical control due to DoS attacks
Maintains energy allocation across disrupted communication

## Slide 37: Evaluation and Risk Modeling
Shirvani (2024): Developed risk assessment framework using STRIDE and attack profiling
Five key dimensions: privacy, software, station security, V2X, autonomy
Applied real-world attack scenarios to validate framework

## Slide 38: Policy and Governance Recommendations
Skarga-Bandurova (2022): Reviewed industry immaturity in cyber defense
Stressed need for harmonized regulation and enforced encryption
Presented incidents from EU, US, and Asia illustrating security gaps

## Slide 39: General Definitions and Frameworks
Hosseini (2015): Reviewed resilience definitions across disciplines
Key themes: adaptability, recovery, robustness, resource efficiency
Quantified resilience as reduction of impact magnitude and duration

## Slide 40: Transport Sector Resilience Context
Gaitanidou (2016): Transport resilience influenced by timing, social, physical, economic factors
Need for cross-functional planning and simulation tools
Suggested evaluation methods from EU RESOLUTE project

## Slide 41: Conceptual Resilience Management
Adini (2020): Delphi-based framework of 51 resilience concepts
Core themes: collaboration, planning, procedures, governance
Framework applicable to smart cities and charging ecosystems